## Overview & Architecture
MSW ePLANT - EXECUTIVE ARCHITECTURE & SERVICE INVENTORY
Dokumen Resmi Inventaris Seluruh Service, Database Node, dan Protokol Komunikasi Data Mobile & Backend MSW ePlant (v4.7)
No | Service / Data Domain | Primary File(s) | Protocol / Transport | Base URL / Host | Authentication / Credential | Total Fields / Keys | Production Status
1 | Firebase Realtime Database (RTDB) - CFPP Overview | lib/models/plant_overview_models.dart lib/pages/plant/plant_overview_detail_page.dart lib/pages/home_page.dart | WebSocket (WSS) Stream & REST API | https://mswproject-bf2cd-default-rtdb.asia-southeast1.firebasedatabase.app | Firebase Service Account / API Key (google-services.json) | 14 Central KPI Fields (Gross MW, TMGCR, BMCR, CF, EAF) | Live RTDB Stream
2 | Firebase RTDB - Boiler & Turbine (Unit 1 & Unit 2) | lib/pages/unit_detail_page.dart lib/pages/plant_page.dart lib/pages/analytics_page.dart | WebSocket (WSS) Stream & REST API | https://mswproject-bf2cd-default-rtdb.asia-southeast1.firebasedatabase.app | Firebase Service Account / API Key | 26 Fields per Unit (Main Steam, Feedwater, Air Flows, Feeders) | Live RTDB Stream
3 | Firebase RTDB - CEMS Cerobong (cems1 & cems2) | lib/pages/cems_detail_page.dart lib/services/cems_threshold_service.dart lib/services/notification_service.dart | WebSocket (WSS) Stream & REST API | https://mswproject-bf2cd-default-rtdb.asia-southeast1.firebasedatabase.app | Firebase Service Account / API Key | 13 Emisi & Baku Mutu Fields (SO2, NOx, PM, Hg, O2, Flow) | Live RTDB Stream
4 | Firebase RTDB - NPHR & Thermal Efficiency | lib/pages/nphr_page.dart lib/pages/plant/plant_overview_detail_page.dart | WebSocket (WSS) Stream & REST API | https://mswproject-bf2cd-default-rtdb.asia-southeast1.firebasedatabase.app | Firebase Service Account / API Key | 8 Fields + Polynomial 6th Degree Curves (5-30 MW) | Live RTDB Stream
5 | Huawei FusionSolar OpenAPI (v4.7 Safeguards) | lib/services/fusion_solar_api_client.dart lib/services/fusion_solar_service.dart scripts/solar_pv_sync.py | HTTPS REST (JSON POST) | https://intl.fusionsolar.huawei.com/thirdData | Configured via .env (FUSIONSOLAR_USERNAME, FUSIONSOLAR_SYSTEM_CODE); 407 2x stop rule, 30-min cron | 28 Telemetry Parameters (Purely Electrical, ESG Removed) | Live API + Hybrid Cache
6 | Solar PV Inverter Fleet Mapping | lib/services/fusion_solar_api_client.dart lib/pages/solarpv/inverter_detail_page.dart | Modbus over SmartLogger & Northbound API | Cloud OpenAPI / Northbound ThirdData | Inverter ESN & Station Codes (NE=54218158, NE=56226734) | 12 Inverter Units (868 kWp Total: MSW 400 kWp + Kelanis 468 kWp) | Live Fleet Mapping
7 | Simulasi Payload JSON FusionSolar | lib/services/fusion_solar_api_client.dart solar/generate_fusionsolar_excel.py | JSON Request / Response Schemas | Endpoints: login, devList, devRealKpi, devKpiDay, alarmList | Configured via .env (FUSIONSOLAR_USERNAME, FUSIONSOLAR_SYSTEM_CODE) | 7 Core Request/Response Payloads & Diagnostics | Standard OpenAPI Spec
8 | Microsoft Dynamics 365 (D365) Maintenance | lib/services/d365_service.dart lib/pages/maintenance/maintenance_page.dart | HTTPS REST / OData & Local Storage | Configured via .env (D365_API_BASE_URL) & SharedPreferences | Employee Code Auth (6100xxxx) & Bearer Token | 28 Fields (19 Warehouses, 86 Activities, 39 Cost Centers) | Hybrid (Live API + Seed Master)
9 | OpenWeatherMap & Meteorologi | lib/services/weather_service.dart lib/pages/weather_page.dart | HTTPS REST (JSON GET) | https://api.openweathermap.org/data/2.5 | Configured via .env (OPENWEATHER_API_KEY, OPENWEATHER_BASE_URL) | 22 Parameters (Weather, Forecast, Solar Potential, Operational Risks) | Live API
10 | Google Sheets API v4 (Shift Logsheet) | lib/pages/logsheet/logsheet_service.dart lib/pages/logsheet/logsheet_page.dart | HTTPS REST (JSON POST/GET/PUT) | https://sheets.googleapis.com/v4/spreadsheets | Google Sign-In OAuth2 (email, spreadsheets, drive scopes) | 60+ Logsheet Shift Operational Columns | Live API + Firebase Config
11 | Local & Device Services (Auth, CEMS, Notification, OKR) | lib/services/auth_service.dart lib/services/cems_threshold_service.dart lib/services/notification_service.dart lib/services/okr_service.dart | Local SharedPreferences, Android Notification Channel, Flutter Engine | Local Device Storage & Android Notification Manager | Configured via .env (DEFAULT_*_PASSWORD) & Role-based PINs | 18 Config, Compliance & Threshold Fields | Local / Device Native

## CFPP Overview (excel_data)
CFPP CENTRAL OVERVIEW TELEMETRY (/excel_data/overview)
Inventaris 14 Parameter Utama Operasional Pembangkit PLTU MSW Tanjung: Beban Gross, Export PLN/AI, House Load, TMGCR, BMCR, Efisiensi, EAF, CF
No | Category / Subsystem | Service Class / Script | File Code Path | Function / Listener | Endpoint / Database Path | Method / Protocol | Request Parameters / Body | Data Key / Field Name | Data Type & Unit | Description & Usage in App | Integration Status
1 | Overview Header | PlantOverviewSnapshot | lib/models/plant_overview_models.dart | fromFirebase() | excel_data/overview | RTDB Stream / Array | - | DATETIME | String (ISO / yyyy-MM-dd HH:mm) | Waktu pencatatan logsheet agregasi overview pembangkit | Live RTDB Stream
2 | Gross Generation | PlantOverviewSnapshot | lib/models/plant_overview_models.dart | totalLoad | excel_data/overview | RTDB Stream / Array | - | TOTAL LOAD / TOTAL GENERATION | double [MW] | Total daya kotor yang dibangkitkan oleh generator Unit 1 + Unit 2 | Live RTDB Stream
3 | Grid Export | PlantOverviewSnapshot | lib/models/plant_overview_models.dart | loadToPln | excel_data/overview | RTDB Stream / Array | - | LOAD TO PLN / PLN LOAD | double [MW] | Daya listrik netto yang diekspor ke sistem transmisi interkoneksi PLN 150 kV | Live RTDB Stream
4 | Dedicated Load | PlantOverviewSnapshot | lib/models/plant_overview_models.dart | loadToAi | excel_data/overview | RTDB Stream / Array | - | LOAD TO AI / AI LOAD | double [MW] | Daya listrik yang disalurkan ke beban dedicated Adaro / fasilitas khusus | Live RTDB Stream
5 | Auxiliary Load | PlantOverviewSnapshot | lib/models/plant_overview_models.dart | totalHouseLoad | excel_data/overview | RTDB Stream / Array | - | TOTAL HOUSE LOAD | double [MW] | Daya pemakaian sendiri (House Load) untuk peralatan auxiliary pembangkit | Live RTDB Stream
6 | House Load Ratio | PlantOverviewSnapshot | lib/models/plant_overview_models.dart | houseLoadPct | Client Calculation | Derived Metric | - | houseLoadPct | double [%] | Persentase pemakaian sendiri = (Total House Load / Total Load) * 100 | Live Derived
7 | Unit 1 Capability | PlantOverviewSnapshot | lib/models/plant_overview_models.dart | unit1.tmgcr | excel_data/overview | RTDB Stream / Array | - | UNIT 1 TMGCR | double [MW] | Turbine Maximum Continuous Rating Unit 1 (kapasitas kontinu maks turbin 30 MW) | Live RTDB Stream
8 | Unit 1 Boiler Rating | PlantOverviewSnapshot | lib/models/plant_overview_models.dart | unit1.bmcr | excel_data/overview | RTDB Stream / Array | - | UNIT 1 BMCR | double [Ton/h atau MW] | Boiler Maximum Continuous Rating Unit 1 (kapasitas penguapan kontinu maks boiler) | Live RTDB Stream
9 | Unit 1 Efficiency | PlantOverviewSnapshot | lib/models/plant_overview_models.dart | unit1.boilerEfficiency | excel_data/overview | RTDB Stream / Array | - | UNIT 1 BOILER EFFICIENCY | double [%] | Efisiensi termal pembakaran dan perpindahan panas boiler Unit 1 | Live RTDB Stream
10 | Unit 1 Availability | PlantOverviewSnapshot | lib/models/plant_overview_models.dart | unit1.eaf | excel_data/overview | RTDB Stream / Array | - | UNIT 1 EAF | double [%] | Equivalent Availability Factor (EAF) ketersediaan unit pembangkit Unit 1 | Live RTDB Stream
11 | Unit 1 Capacity Factor | PlantOverviewSnapshot | lib/models/plant_overview_models.dart | unit1.capacityFactor | excel_data/overview | RTDB Stream / Array | - | UNIT 1 CAPACITY FACTOR | double [%] | Capacity Factor (CF) rasio pembangkitan riil terhadap kapasitas terpasang Unit 1 | Live RTDB Stream
12 | Unit 2 Capability | PlantOverviewSnapshot | lib/models/plant_overview_models.dart | unit2.tmgcr | excel_data/overview | RTDB Stream / Array | - | UNIT 2 TMGCR | double [MW] | Turbine Maximum Continuous Rating Unit 2 (kapasitas kontinu maks turbin 30 MW) | Live RTDB Stream
13 | Unit 2 Boiler Rating | PlantOverviewSnapshot | lib/models/plant_overview_models.dart | unit2.bmcr | excel_data/overview | RTDB Stream / Array | - | UNIT 2 BMCR | double [Ton/h atau MW] | Boiler Maximum Continuous Rating Unit 2 (kapasitas penguapan kontinu maks boiler) | Live RTDB Stream
14 | Unit 2 Efficiency | PlantOverviewSnapshot | lib/models/plant_overview_models.dart | unit2.boilerEfficiency | excel_data/overview | RTDB Stream / Array | - | UNIT 2 BOILER EFFICIENCY | double [%] | Efisiensi termal pembakaran dan perpindahan panas boiler Unit 2 | Live RTDB Stream
15 | Unit 2 Availability | PlantOverviewSnapshot | lib/models/plant_overview_models.dart | unit2.eaf | excel_data/overview | RTDB Stream / Array | - | UNIT 2 EAF | double [%] | Equivalent Availability Factor (EAF) ketersediaan unit pembangkit Unit 2 | Live RTDB Stream
16 | Unit 2 Capacity Factor | PlantOverviewSnapshot | lib/models/plant_overview_models.dart | unit2.capacityFactor | excel_data/overview | RTDB Stream / Array | - | UNIT 2 CAPACITY FACTOR | double [%] | Capacity Factor (CF) rasio pembangkitan riil terhadap kapasitas terpasang Unit 2 | Live RTDB Stream

## Boiler & Turbine (table1 & 2)
BOILER & TURBINE OPERATIONAL TELEMETRY (/excel_data/table1 & table2)
Parameter Fisik dan Termal Boiler-Turbin-Generator CFPP Unit 1 (table1) dan Unit 2 (table2): Main Steam, Feedwater, Fans, Coal Feeders & Generator
No | Category / Subsystem | Service Class / Script | File Code Path | Function / Listener | Endpoint / Database Path | Method / Protocol | Request Parameters / Body | Data Key / Field Name | Data Type & Unit | Description & Usage in App | Integration Status
1 | Unit 1 Timing | UnitDetailPage | lib/pages/unit_detail_page.dart | _table1Ref.onValue | excel_data/table1 | RTDB Stream | - | DATETIME | String (Datetime) | Waktu logging operasional boiler dan turbin Unit 1 | Live RTDB Stream
2 | Unit 1 Gross Load | UnitDetailPage | lib/pages/unit_detail_page.dart | _table1Ref.onValue | excel_data/table1 | RTDB Stream | - | UNIT 1 LOAD / LOAD | double [MW] | Beban generator kotor Unit 1 (Nominal 30 MW) | Live RTDB Stream
3 | Unit 1 Main Steam | UnitDetailPage | lib/pages/unit_detail_page.dart | _table1Ref.onValue | excel_data/table1 | RTDB Stream | - | MAIN_STEAM_TEMP | double [°C] | Temperatur uap utama keluar superheater menuju turbin Unit 1 (Nominal 535 - 540 °C) | Live RTDB Stream
4 | Unit 1 Main Steam | UnitDetailPage | lib/pages/unit_detail_page.dart | _table1Ref.onValue | excel_data/table1 | RTDB Stream | - | MAIN_STEAM_PRESS | double [MPa / Bar] | Tekanan uap utama keluar superheater Unit 1 (Nominal 9.8 MPa / 98 Bar) | Live RTDB Stream
5 | Unit 1 Main Steam | UnitDetailPage | lib/pages/unit_detail_page.dart | _table1Ref.onValue | excel_data/table1 | RTDB Stream | - | STEAM_FLOW | double [Ton/h] | Laju aliran uap utama yang masuk ke high-pressure turbin Unit 1 | Live RTDB Stream
6 | Unit 1 Feedwater | UnitDetailPage | lib/pages/unit_detail_page.dart | _table1Ref.onValue | excel_data/table1 | RTDB Stream | - | FEEDWATER_TEMP | double [°C] | Temperatur air pengisi setelah high-pressure heater sebelum economizer | Live RTDB Stream
7 | Unit 1 Feedwater | UnitDetailPage | lib/pages/unit_detail_page.dart | _table1Ref.onValue | excel_data/table1 | RTDB Stream | - | FEEDWATER_PRESS | double [MPa] | Tekanan air pengisi dari boiler feedwater pump (BFP) | Live RTDB Stream
8 | Unit 1 Drum | UnitDetailPage | lib/pages/unit_detail_page.dart | _table1Ref.onValue | excel_data/table1 | RTDB Stream | - | DRUM_PRESSURE | double [MPa] | Tekanan jenuh uap di dalam steam drum boiler Unit 1 | Live RTDB Stream
9 | Unit 1 Drum | UnitDetailPage | lib/pages/unit_detail_page.dart | _table1Ref.onValue | excel_data/table1 | RTDB Stream | - | DRUM_LEVEL | double [mm] | Ketinggian level air pada steam drum boiler (Normal Range -50 mm s/d +50 mm) | Live RTDB Stream
10 | Unit 1 Combustion | UnitDetailPage | lib/pages/unit_detail_page.dart | _table1Ref.onValue | excel_data/table1 | RTDB Stream | - | FURNACE_PRESSURE | double [Pa] | Tekanan ruang bakar (draft furnace) yang dikontrol ID Fan (Normal -50 s/d -100 Pa) | Live RTDB Stream
11 | Unit 1 Air Supply | UnitDetailPage | lib/pages/unit_detail_page.dart | _table1Ref.onValue | excel_data/table1 | RTDB Stream | - | PRIMARY_AIR_FLOW | double [m³/h] | Aliran udara primer dari PA Fan untuk fluidisasi dan transportasi batubara | Live RTDB Stream
12 | Unit 1 Air Supply | UnitDetailPage | lib/pages/unit_detail_page.dart | _table1Ref.onValue | excel_data/table1 | RTDB Stream | - | SECONDARY_AIR_FLOW | double [m³/h] | Aliran udara sekunder dari SA Fan untuk penyempurnaan pembakaran di furnace | Live RTDB Stream
13 | Unit 1 Fuel Feed | UnitDetailPage | lib/pages/unit_detail_page.dart | _table1Ref.onValue | excel_data/table1 | RTDB Stream | - | COAL_FEEDER_TOTAL | double [Ton/h] | Total laju pengumpanan batubara ke pulverizer/furnace Unit 1 | Live RTDB Stream
14 | Unit 1 Flue Gas | UnitDetailPage | lib/pages/unit_detail_page.dart | _table1Ref.onValue | excel_data/table1 | RTDB Stream | - | FLUE_GAS_TEMP_OUTLET | double [°C] | Temperatur gas buang keluar air preheater sebelum masuk ESP / stack | Live RTDB Stream
15 | Unit 1 Turbine & Gen | UnitDetailPage | lib/pages/unit_detail_page.dart | _table1Ref.onValue | excel_data/table1 | RTDB Stream | - | TURBINE_SPEED | double [RPM] | Kecepatan putaran rotor turbin uap (Nominal 3000 RPM sinkron 50 Hz) | Live RTDB Stream
16 | Unit 1 Condenser | UnitDetailPage | lib/pages/unit_detail_page.dart | _table1Ref.onValue | excel_data/table1 | RTDB Stream | - | CONDENSER_VACUUM | double [kPa] | Tingkat kevakuman pada ruang kondensor untuk efisiensi ekspansi uap | Live RTDB Stream
17 | Unit 2 Timing | UnitDetailPage | lib/pages/unit_detail_page.dart | _table2Ref.onValue | excel_data/table2 | RTDB Stream | - | DATETIME | String (Datetime) | Waktu logging operasional boiler dan turbin Unit 2 | Live RTDB Stream
18 | Unit 2 Gross Load | UnitDetailPage | lib/pages/unit_detail_page.dart | _table2Ref.onValue | excel_data/table2 | RTDB Stream | - | UNIT 2 LOAD / LOAD | double [MW] | Beban generator kotor Unit 2 (Nominal 30 MW) | Live RTDB Stream
19 | Unit 2 Main Steam | UnitDetailPage | lib/pages/unit_detail_page.dart | _table2Ref.onValue | excel_data/table2 | RTDB Stream | - | MAIN_STEAM_TEMP | double [°C] | Temperatur uap utama keluar superheater menuju turbin Unit 2 (Nominal 535 - 540 °C) | Live RTDB Stream
20 | Unit 2 Main Steam | UnitDetailPage | lib/pages/unit_detail_page.dart | _table2Ref.onValue | excel_data/table2 | RTDB Stream | - | MAIN_STEAM_PRESS | double [MPa / Bar] | Tekanan uap utama keluar superheater Unit 2 (Nominal 9.8 MPa / 98 Bar) | Live RTDB Stream
21 | Unit 2 Main Steam | UnitDetailPage | lib/pages/unit_detail_page.dart | _table2Ref.onValue | excel_data/table2 | RTDB Stream | - | STEAM_FLOW | double [Ton/h] | Laju aliran uap utama yang masuk ke high-pressure turbin Unit 2 | Live RTDB Stream
22 | Unit 2 Feedwater | UnitDetailPage | lib/pages/unit_detail_page.dart | _table2Ref.onValue | excel_data/table2 | RTDB Stream | - | FEEDWATER_TEMP | double [°C] | Temperatur air pengisi setelah high-pressure heater sebelum economizer | Live RTDB Stream
23 | Unit 2 Feedwater | UnitDetailPage | lib/pages/unit_detail_page.dart | _table2Ref.onValue | excel_data/table2 | RTDB Stream | - | FEEDWATER_PRESS | double [MPa] | Tekanan air pengisi dari boiler feedwater pump (BFP) | Live RTDB Stream
24 | Unit 2 Drum | UnitDetailPage | lib/pages/unit_detail_page.dart | _table2Ref.onValue | excel_data/table2 | RTDB Stream | - | DRUM_PRESSURE | double [MPa] | Tekanan jenuh uap di dalam steam drum boiler Unit 2 | Live RTDB Stream
25 | Unit 2 Drum | UnitDetailPage | lib/pages/unit_detail_page.dart | _table2Ref.onValue | excel_data/table2 | RTDB Stream | - | DRUM_LEVEL | double [mm] | Ketinggian level air pada steam drum boiler (Normal Range -50 mm s/d +50 mm) | Live RTDB Stream
26 | Unit 2 Combustion | UnitDetailPage | lib/pages/unit_detail_page.dart | _table2Ref.onValue | excel_data/table2 | RTDB Stream | - | FURNACE_PRESSURE | double [Pa] | Tekanan ruang bakar (draft furnace) yang dikontrol ID Fan (Normal -50 s/d -100 Pa) | Live RTDB Stream
27 | Unit 2 Air Supply | UnitDetailPage | lib/pages/unit_detail_page.dart | _table2Ref.onValue | excel_data/table2 | RTDB Stream | - | PRIMARY_AIR_FLOW | double [m³/h] | Aliran udara primer dari PA Fan untuk fluidisasi dan transportasi batubara | Live RTDB Stream
28 | Unit 2 Air Supply | UnitDetailPage | lib/pages/unit_detail_page.dart | _table2Ref.onValue | excel_data/table2 | RTDB Stream | - | SECONDARY_AIR_FLOW | double [m³/h] | Aliran udara sekunder dari SA Fan untuk penyempurnaan pembakaran di furnace | Live RTDB Stream
29 | Unit 2 Fuel Feed | UnitDetailPage | lib/pages/unit_detail_page.dart | _table2Ref.onValue | excel_data/table2 | RTDB Stream | - | COAL_FEEDER_TOTAL | double [Ton/h] | Total laju pengumpanan batubara ke pulverizer/furnace Unit 2 | Live RTDB Stream
30 | Unit 2 Flue Gas | UnitDetailPage | lib/pages/unit_detail_page.dart | _table2Ref.onValue | excel_data/table2 | RTDB Stream | - | FLUE_GAS_TEMP_OUTLET | double [°C] | Temperatur gas buang keluar air preheater sebelum masuk ESP / stack | Live RTDB Stream
31 | Unit 2 Turbine & Gen | UnitDetailPage | lib/pages/unit_detail_page.dart | _table2Ref.onValue | excel_data/table2 | RTDB Stream | - | TURBINE_SPEED | double [RPM] | Kecepatan putaran rotor turbin uap (Nominal 3000 RPM sinkron 50 Hz) | Live RTDB Stream
32 | Unit 2 Condenser | UnitDetailPage | lib/pages/unit_detail_page.dart | _table2Ref.onValue | excel_data/table2 | RTDB Stream | - | CONDENSER_VACUUM | double [kPa] | Tingkat kevakuman pada ruang kondensor untuk efisiensi ekspansi uap | Live RTDB Stream

## CEMS Emisi (cems1 & cems2)
CONTINUOUS EMISSION MONITORING SYSTEM (CEMS) - STACK CEROBONG UNIT 1 & 2
Inventaris Parameter Emisi Gas Buang Cerobong, Baku Mutu PermenLHK P.15/2019, Koreksi 7% O2, dan Alarm Exceed Notifikasi
No | Category / Subsystem | Service Class / Script | File Code Path | Function / Listener | Endpoint / Database Path | Method / Protocol | Request Parameters / Body | Data Key / Field Name | Data Type & Unit | Description & Usage in App | Integration Status
1 | CEMS Unit 1 | CemsDetailPage | lib/pages/cems_detail_page.dart | _cemsRef.onValue | excel_data/cems1 | RTDB Stream | - | DATETIME | String (ISO / Timestamp) | Waktu logging pembacaan instrumen CEMS cerobong Unit 1 | Live RTDB Stream
2 | CEMS Unit 1 | CemsDetailPage & Threshold | lib/pages/cems_detail_page.dart | _cemsRef.onValue | excel_data/cems1 | RTDB Stream | - | SO2 / SO2_COR | double [mg/Nm³] | Konsentrasi Sulfur Dioksida (Baku Mutu PermenLHK P.15/2019: Maks 550 mg/Nm³) | Live RTDB Stream
3 | CEMS Unit 1 | CemsDetailPage & Threshold | lib/pages/cems_detail_page.dart | _cemsRef.onValue | excel_data/cems1 | RTDB Stream | - | NOX / NOX_COR | double [mg/Nm³] | Konsentrasi Nitrogen Oksida (Baku Mutu PermenLHK P.15/2019: Maks 550 mg/Nm³) | Live RTDB Stream
4 | CEMS Unit 1 | CemsDetailPage & Threshold | lib/pages/cems_detail_page.dart | _cemsRef.onValue | excel_data/cems1 | RTDB Stream | - | PARTICULATE / DUST | double [mg/Nm³] | Konsentrasi Debu Partikulat (Baku Mutu PermenLHK P.15/2019: Maks 50 mg/Nm³) | Live RTDB Stream
5 | CEMS Unit 1 | CemsDetailPage & Threshold | lib/pages/cems_detail_page.dart | _cemsRef.onValue | excel_data/cems1 | RTDB Stream | - | HG / HG_COR | double [mg/Nm³] | Konsentrasi Merkuri Hg (Baku Mutu PermenLHK P.15/2019: Maks 0.03 mg/Nm³) | Live RTDB Stream
6 | CEMS Unit 1 | CemsDetailPage | lib/pages/cems_detail_page.dart | _cemsRef.onValue | excel_data/cems1 | RTDB Stream | - | CO / CO_CONC | double [mg/Nm³] | Konsentrasi Karbon Monoksida hasil pembakaran tidak sempurna | Live RTDB Stream
7 | CEMS Unit 1 | CemsDetailPage | lib/pages/cems_detail_page.dart | _cemsRef.onValue | excel_data/cems1 | RTDB Stream | - | CO2 | double [%] | Kadar Karbon Dioksida pada gas buang cerobong Unit 1 | Live RTDB Stream
8 | CEMS Unit 1 | CemsDetailPage | lib/pages/cems_detail_page.dart | _cemsRef.onValue | excel_data/cems1 | RTDB Stream | - | O2 | double [%] | Kadar Oksigen gas buang untuk formula normalisasi koreksi 7% O2 standar KLHK | Live RTDB Stream
9 | CEMS Unit 1 | CemsDetailPage | lib/pages/cems_detail_page.dart | _cemsRef.onValue | excel_data/cems1 | RTDB Stream | - | FLOW / FLUE_GAS_FLOW | double [m³/s] | Laju alir gas buang cerobong untuk menghitung beban emisi total (ton/tahun) | Live RTDB Stream
10 | CEMS Unit 1 | CemsDetailPage | lib/pages/cems_detail_page.dart | _cemsRef.onValue | excel_data/cems1 | RTDB Stream | - | FLUE_GAS_TEMP | double [°C] | Temperatur gas buang pada titik pengukuran analyzer cerobong Unit 1 | Live RTDB Stream
11 | CEMS Unit 1 | CemsDetailPage | lib/pages/cems_detail_page.dart | _cemsRef.onValue | excel_data/cems1 | RTDB Stream | - | OPACITY | double [%] | Tingkat kepekatan / opasitas asap cerobong (Batas alarm > 20%) | Live RTDB Stream
12 | CEMS Unit 2 | CemsDetailPage | lib/pages/cems_detail_page.dart | _cemsRef.onValue | excel_data/cems2 | RTDB Stream | - | DATETIME | String (ISO / Timestamp) | Waktu logging pembacaan instrumen CEMS cerobong Unit 2 | Live RTDB Stream
13 | CEMS Unit 2 | CemsDetailPage & Threshold | lib/pages/cems_detail_page.dart | _cemsRef.onValue | excel_data/cems2 | RTDB Stream | - | SO2 / SO2_COR | double [mg/Nm³] | Konsentrasi Sulfur Dioksida (Baku Mutu PermenLHK P.15/2019: Maks 550 mg/Nm³) | Live RTDB Stream
14 | CEMS Unit 2 | CemsDetailPage & Threshold | lib/pages/cems_detail_page.dart | _cemsRef.onValue | excel_data/cems2 | RTDB Stream | - | NOX / NOX_COR | double [mg/Nm³] | Konsentrasi Nitrogen Oksida (Baku Mutu PermenLHK P.15/2019: Maks 550 mg/Nm³) | Live RTDB Stream
15 | CEMS Unit 2 | CemsDetailPage & Threshold | lib/pages/cems_detail_page.dart | _cemsRef.onValue | excel_data/cems2 | RTDB Stream | - | PARTICULATE / DUST | double [mg/Nm³] | Konsentrasi Debu Partikulat (Baku Mutu PermenLHK P.15/2019: Maks 50 mg/Nm³) | Live RTDB Stream
16 | CEMS Unit 2 | CemsDetailPage & Threshold | lib/pages/cems_detail_page.dart | _cemsRef.onValue | excel_data/cems2 | RTDB Stream | - | HG / HG_COR | double [mg/Nm³] | Konsentrasi Merkuri Hg (Baku Mutu PermenLHK P.15/2019: Maks 0.03 mg/Nm³) | Live RTDB Stream
17 | CEMS Unit 2 | CemsDetailPage | lib/pages/cems_detail_page.dart | _cemsRef.onValue | excel_data/cems2 | RTDB Stream | - | CO / CO_CONC | double [mg/Nm³] | Konsentrasi Karbon Monoksida hasil pembakaran tidak sempurna | Live RTDB Stream
18 | CEMS Unit 2 | CemsDetailPage | lib/pages/cems_detail_page.dart | _cemsRef.onValue | excel_data/cems2 | RTDB Stream | - | CO2 | double [%] | Kadar Karbon Dioksida pada gas buang cerobong Unit 2 | Live RTDB Stream
19 | CEMS Unit 2 | CemsDetailPage | lib/pages/cems_detail_page.dart | _cemsRef.onValue | excel_data/cems2 | RTDB Stream | - | O2 | double [%] | Kadar Oksigen gas buang untuk formula normalisasi koreksi 7% O2 standar KLHK | Live RTDB Stream
20 | CEMS Unit 2 | CemsDetailPage | lib/pages/cems_detail_page.dart | _cemsRef.onValue | excel_data/cems2 | RTDB Stream | - | FLOW / FLUE_GAS_FLOW | double [m³/s] | Laju alir gas buang cerobong untuk menghitung beban emisi total (ton/tahun) | Live RTDB Stream
21 | CEMS Unit 2 | CemsDetailPage | lib/pages/cems_detail_page.dart | _cemsRef.onValue | excel_data/cems2 | RTDB Stream | - | FLUE_GAS_TEMP | double [°C] | Temperatur gas buang pada titik pengukuran analyzer cerobong Unit 2 | Live RTDB Stream
22 | CEMS Unit 2 | CemsDetailPage | lib/pages/cems_detail_page.dart | _cemsRef.onValue | excel_data/cems2 | RTDB Stream | - | OPACITY | double [%] | Tingkat kepekatan / opasitas asap cerobong (Batas alarm > 20%) | Live RTDB Stream

## NPHR & Thermal Heat Rate
NET PLANT HEAT RATE (NPHR) & POLYNOMIAL EFFICIENCY CURVES
Inventaris Nilai NPHR Unit 1 & Unit 2 (/excel_data/nphr), Persamaan Polinomial Derajat 6 (5-30 MW), Pembanding Target & Aktual
No | Category / Subsystem | Service Class / Script | File Code Path | Function / Listener | Endpoint / Database Path | Method / Protocol | Request Parameters / Body | Data Key / Field Name | Data Type & Unit | Description & Usage in App | Integration Status
1 | NPHR Unit 1 | NphrPage & HomePage | lib/pages/nphr_page.dart lib/pages/home_page.dart | _nphrRef.onValue | excel_data/nphr | RTDB Stream | - | nphr1 / NPHR UNIT 1 | double [kCal/kWh] | Net Plant Heat Rate Unit 1 seketika (Konsumsi panas batubara per kWh neto) | Live RTDB Stream
2 | NPHR Unit 2 | NphrPage & HomePage | lib/pages/nphr_page.dart lib/pages/home_page.dart | _nphrRef.onValue | excel_data/nphr | RTDB Stream | - | nphr2 / NPHR UNIT 2 | double [kCal/kWh] | Net Plant Heat Rate Unit 2 seketika (Konsumsi panas batubara per kWh neto) | Live RTDB Stream
3 | Unit 1 Load Pairing | NphrPage | lib/pages/nphr_page.dart | _boiler1Ref.onValue | excel_data/table1 | RTDB Stream | - | load1 / LOAD | double [MW] | Beban generator Unit 1 saat pencatatan nilai heat rate (Sumbu X kurva NPHR) | Live RTDB Stream
4 | Unit 2 Load Pairing | NphrPage | lib/pages/nphr_page.dart | _boiler2Ref.onValue | excel_data/table2 | RTDB Stream | - | load2 / LOAD | double [MW] | Beban generator Unit 2 saat pencatatan nilai heat rate (Sumbu X kurva NPHR) | Live RTDB Stream
5 | Kurva Aktual Polinomial | NphrPage | lib/pages/nphr_page.dart | calculatePolynomial(x) | Formula Matematika Orde 6 | Client Computation | x = Beban Gross MW (5 s/d 30 MW) | calculatePolynomial(x) | double [kCal/kWh] | 0.002091081*x^6 - 0.25509163*x^5 + 12.71453427*x^4 - 331.7789929*x^3 + 4795.876444*x^2 - 36715.63544*x + 122674.5032 | Polynomial Model
6 | Kurva Target Polinomial | NphrPage | lib/pages/nphr_page.dart | calculateTarget(x) | Formula Matematika Orde 6 | Client Computation | x = Beban Gross MW (5 s/d 30 MW) | calculateTarget(x) | double [kCal/kWh] | 0.00196559505*x^6 - 0.239778826*x^5 + 11.9511090*x^4 - 311.854308*x^3 + 4507.83793*x^2 - 34510.5291*x + 115307.904 | Target Model
7 | Heat Rate Deviation | NphrPage | lib/pages/nphr_page.dart | realtimePoints vs curve | Comparison Logic | Client Computation | - | heatRateDeviation | double [kCal/kWh] | Deviasi heat rate aktual terhadap kurva target pada pembebanan yang sama | Derived Metric
8 | Thermal Efficiency Eq | NphrPage | lib/pages/nphr_page.dart | Derived Efficiency | Formula Termodinamika | Client Computation | 860 / NPHR | thermalEfficiency | double [%] | Efisiensi termal siklus pembangkit = (860 kCal/kWh / NPHR) * 100 | Derived Metric

## Huawei FusionSolar OpenAPI
HUAWEI FUSIONSOLAR OPENAPI - ENDPOINTS, PROTOCOL & INVERTER STATE (v4.7)
Spesifikasi Lengkap REST API Northbound Huawei: Aturan 407 Rate Limit 2x Stop, 30-Min Cron, Telemetri Elektrik (ESG Dihapus) & Tabel 3-1
No | Category / Subsystem | Service Class / Script | File Code Path | Function / Listener | Endpoint / Database Path | Method / Protocol | Request Parameters / Body | Data Key / Field Name | Data Type & Unit | Description & Usage in App | Integration Status
1 | Autentikasi Sesi | FusionSolarApiClient | lib/services/fusion_solar_api_client.dart | login() | /thirdData/login | POST | {"userName": "...", "systemCode": "..."} | xsrf-token | HTTP Header (Token) | Autentikasi akun northbound dan perolehan token sesi xsrf-token (cached 25 min) | Live API
2 | Autentikasi Sesi | FusionSolarApiClient | lib/services/fusion_solar_api_client.dart | logout() | /thirdData/logout | POST | Header: xsrf-token | success | Boolean / Status | Menutup sesi token secara aman saat service di-dispose | Live API
3 | Struktur Stasiun | FusionSolarApiClient | lib/services/fusion_solar_api_client.dart | getStationList() | /thirdData/getStationList | POST | {"pageNo": 1, "pageSize": 100} | stationCode, capacity | String & double [kWp] | Daftar stasiun aktif: PLTS MSW 400 kWp & PLTS Floating Kelanis 468 kWp | Live API
4 | Daftar Inverter | FusionSolarApiClient | lib/services/fusion_solar_api_client.dart | getInverters() | /thirdData/getDevList | POST | {"stationCodes": "NE=..."} | id, devName, esnCode, invType | String / Int | Mengambil 12 inverter aktif (devTypeId = 1). Dilengkapi safeguard 407 2x auto-abort | Live API
5 | Telemetri Elektrik | FusionSolarApiClient | lib/services/fusion_solar_api_client.dart | getRealtimeKpis() | /thirdData/getDevRealKpi | POST | {"devIds": "...", "devTypeId": 1} | active_power | double [kW] | Daya aktif output AC seketika per inverter (Batch 12 inverter sekaligus) | Live API
6 | Telemetri Elektrik | FusionSolarApiClient | lib/services/fusion_solar_api_client.dart | getRealtimeKpis() | /thirdData/getDevRealKpi | POST | {"devIds": "...", "devTypeId": 1} | temperature | double [°C] | Temperatur modul elektronik/IGBT internal inverter | Live API
7 | Telemetri Elektrik | FusionSolarApiClient | lib/services/fusion_solar_api_client.dart | getRealtimeKpis() | /thirdData/getDevRealKpi | POST | {"devIds": "...", "devTypeId": 1} | elec_freq | double [Hz] | Frekuensi jaringan AC inverter (Nominal 50.0 Hz) | Live API
8 | Telemetri Elektrik | FusionSolarApiClient | lib/services/fusion_solar_api_client.dart | getRealtimeKpis() | /thirdData/getDevRealKpi | POST | {"devIds": "...", "devTypeId": 1} | ab_u, bc_u, ca_u | double [V] | Tegangan fasa-fasa AC 3-Phase (Line-to-Line Voltage) | Live API
9 | Telemetri Elektrik | FusionSolarApiClient | lib/services/fusion_solar_api_client.dart | getRealtimeKpis() | /thirdData/getDevRealKpi | POST | {"devIds": "...", "devTypeId": 1} | a_i, b_i, c_i | double [A] | Arus keluaran AC 3-Phase per fasa (Phase Current) | Live API
10 | Telemetri Elektrik | FusionSolarApiClient | lib/services/fusion_solar_api_client.dart | getRealtimeKpis() | /thirdData/getDevRealKpi | POST | {"devIds": "...", "devTypeId": 1} | power_factor | double [-1.0 .. 1.0] | Faktor daya (cos φ) inverter terhadap grid | Live API
11 | Telemetri Elektrik | FusionSolarApiClient | lib/services/fusion_solar_api_client.dart | getRealtimeKpis() | /thirdData/getDevRealKpi | POST | {"devIds": "...", "devTypeId": 1} | efficiency | double [%] | Efisiensi konversi daya DC ke AC inverter (Standar Huawei > 98%) | Live API
12 | Telemetri Elektrik | FusionSolarApiClient | lib/services/fusion_solar_api_client.dart | getRealtimeKpis() | /thirdData/getDevRealKpi | POST | {"devIds": "...", "devTypeId": 1} | mppt_power | double [kW] | Total daya input DC dari array PV string ke MPPT inverter | Live API
13 | Telemetri Elektrik | FusionSolarApiClient | lib/services/fusion_solar_api_client.dart | getRealtimeKpis() | /thirdData/getDevRealKpi | POST | {"devIds": "...", "devTypeId": 1} | inverter_state / run_state | int (Tabel 3-1) | Kode status operasi inverter (0=Standby, 512=Grid-tied, 40960=No Irradiation) | Live API
14 | Telemetri Elektrik | FusionSolarApiClient | lib/services/fusion_solar_api_client.dart | getRealtimeKpis() | /thirdData/getDevRealKpi | POST | {"devIds": "...", "devTypeId": 1} | total_cap | double [kWh] | Total energi bangkitan seumur hidup (Lifetime Energy Generation) | Live API
15 | Produksi Harian | FusionSolarApiClient | lib/services/fusion_solar_api_client.dart | getDayKpi() | /thirdData/getDevKpiDay | POST | {"devIds": "...", "devTypeId": 1, "collectTime": 00:00} | product_power | double [kWh] | Akumulasi produksi energi harian resmi per unit inverter | Live API
16 | Produksi Harian | FusionSolarApiClient | lib/services/fusion_solar_api_client.dart | getDayKpi() | /thirdData/getDevKpiDay | POST | {"devIds": "...", "devTypeId": 1, "collectTime": 00:00} | perpower_ratio | double [kWh/kWp] | Specific Energy yield per kWp terpasang untuk perbandingan kinerja | Live API
17 | Metrik Stasiun | FusionSolarApiClient | lib/services/fusion_solar_api_client.dart | getStationDayKpis() | /thirdData/getKpiStationDay | POST | {"stationCodes": "...", "collectTime": 00:00} | radiation_intensity | double [kWh/m²] | Radiasi penyinaran matahari harian stasiun (MSW & Kelanis) | Live API
18 | Metrik Stasiun | FusionSolarApiClient | lib/services/fusion_solar_api_client.dart | getStationDayKpis() | /thirdData/getKpiStationDay | POST | {"stationCodes": "...", "collectTime": 00:00} | performance_ratio | double [%] | Performance Ratio stasiun (MSW & Kelanis PR terpisah di v4.7) | Live API
19 | Kurva Profil Jam | FusionSolarApiClient | lib/services/fusion_solar_api_client.dart | getStationHourKpis() | /thirdData/getKpiStationHour | POST | {"stationCodes": "...", "collectTime": 00:00} | radiation_intensity, power | double [kWh/m² & kW] | Profil radiasi dan daya per jam (04:00 - 20:00 WITA) | Live API
20 | Daftar Alarm | FusionSolarApiClient | lib/services/fusion_solar_api_client.dart | getAlarmList() | /thirdData/getAlarmList | POST | {"stationCodes": "...", "beginTime": ..., "status": 1} | alarmId, alarmName, lev, repairSuggestion | String / Int | Daftar gangguan aktif perangkat (Severity: 1=Critical, 2=Major, 3=Minor, 4=Warning) | Live API
21 | Rate Limit Safeguard | FusionSolarApiClient | lib/services/fusion_solar_api_client.dart | _devListConsecutive407 >= 2 | Rate Limit Policy | 407 Handling | HTTP Status 407 | 407 Abort Stop | Circuit Breaker | Jika /getDevList terkena HTTP 407 dua kali beruntun, hentikan sync dan batalkan downstream loop | Live Safeguard
22 | Empty Inverter Stop | FusionSolarApiClient | lib/services/fusion_solar_api_client.dart | inverters.isEmpty | Data Integrity Policy | Pre-condition Check | devIds == null | Empty Dev Abort | Early Exit | Jika getInverters() menghasilkan list kosong (karena 407 atau network), langsung hentikan pipeline | Live Safeguard
23 | Pacing Throttle | FusionSolarApiClient | lib/services/fusion_solar_api_client.dart | throttleDelay = 2s | Request Pacing | Delay Injection | Duration(seconds: 2) | 2s Sleep Between Calls | Pacing Rule | Wajib jeda minimal 2 detik antar pemanggilan endpoint Huawei untuk mencegah pemicu WAF rate limit | Live Safeguard
24 | 30-Min Cron & Window | FusionSolarService | lib/services/fusion_solar_service.dart | fetchLiveKpis() | Cron Scheduler | Periodic Execution | 04:00 - 20:00 WITA | Interval 30 Menit | Execution Window | Hanya berjalan 16 jam per hari (~256 call/hari = hanya 25% kuota 1.000 call/hari Huawei) | Live Safeguard
25 | ESG Removal Notice | FusionSolarService & Models | lib/models/solar_models.dart | ESG Metrics Purged | v4.7 Refactor | Code Architecture | - | ESG Metrics Removed | Deprecation | Semua pengambilan data ESG (CO2, batubara, pohon) dan komponen UI-nya telah dihapus penuh dari Solar PV | Refactored v4.7

## Solar PV Inverter Mapping
SOLAR PV FLEET - 12 INVERTER HARDWARE & NETWORK MAPPING
Inventaris Lengkap 12 Unit Inverter Huawei SUN2000 pada 4 Kluster (PLTU MSW Rooftop, Ground, Fasilitas & PLTS Floating Kelanis 468 kWp)
No | Cluster / Plant Location | Inverter Display Name | Huawei Dev Name / ID | Hardware Model | Serial Number (ESN) | Rated AC Power | Firmware Version | Grid Connection Point | Telemetry Channel | Integration Status
1 | PLTU MSW Rooftop | Inverter 165kWp-1 | Inverter(COM1-1) / 210107... | SUN2000-40KTL-M3 | 210107415410N1000001 | 40 kW | V500R023C00SPC156 | Main Building LV Switchboard A | Batch /getDevRealKpi | Live Inverter
2 | PLTU MSW Rooftop | Inverter 165kWp-2 | Inverter(COM1-2) / 210107... | SUN2000-40KTL-M3 | 210107415410N1000002 | 40 kW | V500R023C00SPC156 | Main Building LV Switchboard A | Batch /getDevRealKpi | Live Inverter
3 | PLTU MSW Rooftop | Inverter 165kWp-3 | Inverter(COM1-3) / 210107... | SUN2000-40KTL-M3 | 210107415410N1000003 | 40 kW | V500R023C00SPC156 | Main Building LV Switchboard B | Batch /getDevRealKpi | Live Inverter
4 | PLTU MSW Rooftop | Inverter 165kWp-4 | Inverter(COM1-4) / 210107... | SUN2000-40KTL-M3 | 210107415410N1000004 | 45 kW | V500R023C00SPC156 | Main Building LV Switchboard B | Batch /getDevRealKpi | Live Inverter
5 | PLTU MSW Ground | Inverter 200kWp-1 | INV_PLTS_200_KWP_1 / 210107... | SUN2000-100KTL-M1 | 210107415410N2000001 | 100 kW | V500R023C00SPC156 | Substation Outdoor Feeder 1 | Batch /getDevRealKpi | Live Inverter
6 | PLTU MSW Ground | Inverter 200kWp-2 | INV_PLTS_200_KWP_2 / 210107... | SUN2000-100KTL-M1 | 210107415410N2000002 | 100 kW | V500R023C00SPC156 | Substation Outdoor Feeder 2 | Batch /getDevRealKpi | Live Inverter
7 | PLTU MSW Fasilitas | Inverter 15kWp | INV_FASILITAS_15KW / 210107... | SUN2000-15KTL-M2 | 210107415410N3000001 | 15 kW | V500R023C00SPC156 | Workshop Distribution Board | Batch /getDevRealKpi | Live Inverter
8 | PLTU MSW Fasilitas | Inverter 20kWp | INV_FASILITAS_20KW / 210107... | SUN2000-20KTL-M2 | 210107415410N3000002 | 20 kW | V500R023C00SPC156 | Warehouse Distribution Board | Batch /getDevRealKpi | Live Inverter
9 | Floating Kelanis | Inverter 468kWp-01 | INV_KELANIS_FLOAT_01 / 210107... | SUN2000-100KTL-M1 | 210107415410N4000001 | 117 kW | V500R023C00SPC156 | Floating Substation Step-Up 1 | Batch /getDevRealKpi | Live Inverter
10 | Floating Kelanis | Inverter 468kWp-02 | INV_KELANIS_FLOAT_02 / 210107... | SUN2000-100KTL-M1 | 210107415410N4000002 | 117 kW | V500R023C00SPC156 | Floating Substation Step-Up 1 | Batch /getDevRealKpi | Live Inverter
11 | Floating Kelanis | Inverter 468kWp-03 | INV_KELANIS_FLOAT_03 / 210107... | SUN2000-100KTL-M1 | 210107415410N4000003 | 117 kW | V500R023C00SPC156 | Floating Substation Step-Up 2 | Batch /getDevRealKpi | Live Inverter
12 | Floating Kelanis | Inverter 468kWp-04 | INV_KELANIS_FLOAT_04 / 210107... | SUN2000-100KTL-M1 | 210107415410N4000004 | 117 kW | V500R023C00SPC156 | Floating Substation Step-Up 2 | Batch /getDevRealKpi | Live Inverter

## Simulasi Payload FusionSolar
HUAWEI FUSIONSOLAR OPENAPI - JSON REQUEST & RESPONSE PAYLOAD SIMULATION
Struktur Data Baku Pertukaran JSON Northbound ThirdData: Login, getDevList, getDevRealKpi, getDevKpiDay, getAlarmList
No | Endpoint Name | HTTP Method | Target URL Path | Sample Request Payload (JSON) | Sample Success Response (JSON) | Rate Limit & Throttling Rules | Status di App
1 | Login API | POST | /thirdData/login | { "userName": "msw_fusionsolar_api", "systemCode": "MSW_Plant_2026!" } | { "data": "xsrf-token-abc123xyz789", "failCode": 0, "message": "success", "success": true } | Dipanggil setiap 25 menit atau saat token kedaluwarsa. Token disimpan di in-memory cache. | Live Production
2 | Station List API | POST | /thirdData/getStationList | { "pageNo": 1, "pageSize": 100 } | { "data": { "list": [ {"stationCode": "NE=54218158", "stationName": "PLTS MSW 400 kWp", "capacity": 400.0}, {"stationCode": "NE=56226734", "stationName": "PLTS Floating Kelanis 468 kWp", "capacity": 468.0} ] }, "failCode": 0, "success": true } | Dipanggil sekuensial setelah login. Output stasiun di-cache selama siklus sync. | Live Production
3 | Device List API | POST | /thirdData/getDevList | { "stationCodes": "NE=54218158,NE=56226734" } | { "data": [ {"id": 21010701, "devName": "Inverter 165kWp-1", "devTypeId": 1, "esnCode": "210107415410N1000001", "invType": "SUN2000-40KTL-M3"}, {"id": 21010702, "devName": "Inverter 165kWp-2", "devTypeId": 1, "esnCode": "210107415410N1000002", "invType": "SUN2000-40KTL-M3"} ], "failCode": 0, "success": true } | SAFEGUARD v4.7: Jika respon 407 dua kali beruntun (counter >= 2) ATAU list inverter kosong, abort downstream loop seketika. | Live Production
4 | Realtime Inverter KPI | POST | /thirdData/getDevRealKpi | { "devIds": "21010701,21010702,21010703,21010704,21010705,21010706,21010707,21010708,21010709,21010710,21010711,21010712", "devTypeId": 1 } | { "data": [ { "devId": 21010701, "dataItemMap": { "active_power": 38.45, "day_cap": 142.6, "temperature": 52.8, "elec_freq": 50.02, "ab_u": 398.2, "a_i": 55.8, "inverter_state": 512 } } ], "failCode": 0, "success": true } | BATCHING: Seluruh 12 unit inverter dipanggil dalam 1 request tunggal guna menghemat jatah kuota harian Huawei. | Live Production
5 | Daily Inverter KPI | POST | /thirdData/getDevKpiDay | { "devIds": "21010701,21010702,21010703,...", "devTypeId": 1, "collectTime": 1773417600000 } | { "data": [ { "devId": 21010701, "dataItemMap": { "product_power": 185.4, "perpower_ratio": 4.63 } } ], "failCode": 0, "success": true } | Batch request harian untuk memvalidasi energi resmi terverifikasi cloud Huawei. | Live Production
6 | Active Alarms API | POST | /thirdData/getAlarmList | { "stationCodes": "NE=54218158,NE=56226734", "beginTime": 1773417600000, "status": 1 } | { "data": [ { "alarmId": "ALM-99201", "alarmName": "Grid Overvoltage", "lev": 2, "raiseTime": 1773421200000, "repairSuggestion": "Check AC grid voltage tap and contact utility operator." } ], "failCode": 0, "success": true } | Menyaring status normal Tabel 3-1 (40960: Standby no irradiation disaring agar tidak memicu alarm palsu). | Live Production
7 | Logout API | POST | /thirdData/logout | Header: xsrf-token: xsrf-token-abc123xyz789 | { "failCode": 0, "message": "success", "success": true } | Membersihkan sesi aktif di gateway Huawei cloud untuk mencegah batas maksimum concurrent session. | Live Production

## Microsoft Dynamics 365 (D365)
MICROSOFT DYNAMICS 365 (D365) - ASSETS, INVENTORY & WORK ORDERS
Inventaris Modul Integrasi D365 Maintenance: Pengambilan Sparepart, Transaksi Jurnal, Work Order Aktif, dan Master Data
No | Category / Subsystem | Service Class / Script | File Code Path | Function / Listener | Endpoint / Database Path | Method / Protocol | Request Parameters / Body | Data Key / Field Name | Data Type & Unit | Description & Usage in App | Integration Status
1 | Inventory & Stock | D365Service | lib/services/d365_service.dart | checkItemStock() | {D365_API}/items/{itemNumber} | GET | itemNumber (XX.XXX.XXX.XXXX) | itemNumber | String | Kode material unik terstandarisasi D365 (12 digit terformat) | Hybrid (Live + Seed)
2 | Inventory & Stock | D365Service | lib/services/d365_service.dart | checkItemStock() | {D365_API}/items/{itemNumber} | GET | itemNumber | itemName | String | Nama resmi sparepart / consumable (contoh: BEARING 6204-2RS C3 SKF) | Hybrid (Live + Seed)
3 | Inventory & Stock | D365Service | lib/services/d365_service.dart | checkItemStock() | {D365_API}/items/{itemNumber} | GET | itemNumber | description | String | Deskripsi spesifikasi teknis dimensi / kegunaan material | Hybrid (Live + Seed)
4 | Inventory & Stock | D365Service | lib/services/d365_service.dart | checkItemStock() | {D365_API}/items/{itemNumber} | GET | itemNumber | unitType | String (PCS, SET, LTR, KG) | Satuan unit pengukuran inventaris di gudang | Hybrid (Live + Seed)
5 | Inventory & Stock | D365Service | lib/services/d365_service.dart | checkItemStock() | {D365_API}/items/{itemNumber} | GET | itemNumber | availableStock | double [Qty] | Kuantitas stok fisik yang saat ini tersedia untuk diambil | Hybrid (Live + Seed)
6 | Inventory & Stock | D365Service | lib/services/d365_service.dart | checkItemStock() | {D365_API}/items/{itemNumber} | GET | itemNumber | defaultWarehouse | String (e.g. MAINSTORE) | Kode gudang penyimpanan utama barang | Hybrid (Live + Seed)
7 | Inventory & Stock | D365Service | lib/services/d365_service.dart | checkItemStock() | {D365_API}/items/{itemNumber} | GET | itemNumber | defaultLocation | String (e.g. RAK-A2 / BIN-04) | Kode rak dan bin posisi fisik barang di gudang | Hybrid (Live + Seed)
8 | Material Issue | D365Service | lib/services/d365_service.dart | submitMaterialIssue() | {D365_API}/material-issues | POST | {"transactionId": "...", "woNumber": "...", "items": [...]} | transactionId | String | ID transaksi unik lokal untuk pelacakan voucher pengeluaran | Hybrid (Live + Seed)
9 | Material Issue | D365Service | lib/services/d365_service.dart | submitMaterialIssue() | {D365_API}/material-issues | POST | Payload JSON | woNumber | String (WO-YYYY-xxxx) | Nomor referensi Work Order pemeliharaan terkait | Hybrid (Live + Seed)
10 | Material Issue | D365Service | lib/services/d365_service.dart | submitMaterialIssue() | {D365_API}/material-issues | POST | Payload JSON | warehouseLocation | String | Gudang asal pengeluaran barang (MAINSTORE, OILSTORE, dll.) | Hybrid (Live + Seed)
11 | Material Issue | D365Service | lib/services/d365_service.dart | submitMaterialIssue() | {D365_API}/material-issues | POST | Payload JSON | activity | String (6100ACxxxx) | Dimensi finansial kode aktivitas akuntansi D365 | Hybrid (Live + Seed)
12 | Material Issue | D365Service | lib/services/d365_service.dart | submitMaterialIssue() | {D365_API}/material-issues | POST | Payload JSON | costCenter | String (6100DAxxx / DBxxx) | Departemen pembebanan biaya pengeluaran sparepart | Hybrid (Live + Seed)
13 | Material Issue | D365Service | lib/services/d365_service.dart | submitMaterialIssue() | {D365_API}/material-issues | POST | Payload JSON | submittedBy | String | Nama teknisi / eksekutor pemohon barang | Hybrid (Live + Seed)
14 | Material Issue | D365Service | lib/services/d365_service.dart | submitMaterialIssue() | {D365_API}/material-issues | POST | Payload JSON | items | List<LineItem> | Daftar baris barang yang diambil beserta kuantitas pengurangannya | Hybrid (Live + Seed)
15 | Material Issue | D365Service | lib/services/d365_service.dart | submitMaterialIssue() | {D365_API}/material-issues | POST | Response JSON | journalNo / d365JournalNo | String (JRN-D365-...) | Nomor jurnal resmi posting ledger pembukuan D365 | Hybrid (Live + Seed)
16 | Work Orders | D365Service | lib/services/d365_service.dart | getActiveWorkOrders() | {D365_API}/work-orders?status=active | GET | status=active | woNumber | String (WO-YYYY-xxxx) | Nomor identifikasi unik surat perintah kerja pemeliharaan | Hybrid (Live + Cache)
17 | Work Orders | D365Service | lib/services/d365_service.dart | getActiveWorkOrders() | {D365_API}/work-orders?status=active | GET | status=active | title | String | Judul pekerjaan overhaul / maintenance peralatan plant | Hybrid (Live + Cache)
18 | Work Orders | D365Service | lib/services/d365_service.dart | getActiveWorkOrders() | {D365_API}/work-orders?status=active | GET | status=active | equipment | String (Tag / KKS) | Tagging kode peralatan plant (contoh: 10-CWP-PMP-01A, 10-BLR-PT-025) | Hybrid (Live + Cache)
19 | Work Orders | D365Service | lib/services/d365_service.dart | getActiveWorkOrders() | {D365_API}/work-orders?status=active | GET | status=active | status | String | Status WO: Open, In Progress, Released, Closed | Hybrid (Live + Cache)
20 | Work Orders | D365Service | lib/services/d365_service.dart | getActiveWorkOrders() | {D365_API}/work-orders?status=active | GET | status=active | targetDate | DateTime | Batas waktu estimasi penyelesaian pekerjaan pemeliharaan | Hybrid (Live + Cache)
21 | Master Data | D365Service | lib/services/d365_service.dart | getWarehouseList() | Local Master / Seed | Memory / SharedPreferences | - | warehouseList | List<String> (19 Warehouses) | Daftar 19 gudang: MAINSTORE, CHEMSTORE, COALSTORE, OILSTORE, WTPSTORE, dll. | Local Master Data
22 | Master Data | D365Service | lib/services/d365_service.dart | getLocationList() | Local Master / Seed | Memory / SharedPreferences | warehouse | locationList | List<String> (Bin / Rak) | Daftar lokasi rak/bin spesifik per gudang (contoh: RAK-A1, LUBE-DRUM-01) | Local Master Data
23 | Master Data | D365Service | lib/services/d365_service.dart | getActivityList() | Local Master / Seed | Memory / SharedPreferences | - | activityList | List<String> (86 Accounts) | Daftar 86 dimensi finansial resmi D365 (6100ACxxxx: Sparepart, Pelumas, Jasa, dll.) | Local Master Data
24 | Master Data | D365Service | lib/services/d365_service.dart | getCostCenterList() | Local Master / Seed | Memory / SharedPreferences | - | costCenterList | List<String> (39 Cost Centers) | Daftar 39 cost center: Mechanical, Electrical, Instrument, WTP, Operation, PLTS | Local Master Data
25 | User Sessions | D365Service | lib/services/d365_service.dart | loginD365() | Local SharedPreferences | Local Auth Session | employeeCode | employeeCode | String (6100xxxx) | Nomor induk karyawan resmi D365 | Local / Device Native
26 | User Sessions | D365Service | lib/services/d365_service.dart | loginD365() | Local SharedPreferences | Local Auth Session | employeeCode | employeeName | String | Nama teknisi / eksekutor pemeliharaan | Local / Device Native
27 | User Sessions | D365Service | lib/services/d365_service.dart | loginD365() | Local SharedPreferences | Local Auth Session | employeeCode | department | String | Departemen penugasan kerja | Local / Device Native

## Weather & Meteorologi
OPENWEATHERMAP API & METEOROLOGICAL EVALUATION
Pemetaan Endpoint Cuaca untuk PLTU MSW Tanjung & Terminal Kelanis, Kalkulasi Potensi Solar PV, Navigasi WeatherPage, dan Matriks Risiko Operasi
No | Category / Subsystem | Service Class / Script | File Code Path | Function / Listener | Endpoint / Database Path | Method / Protocol | Request Parameters / Body | Data Key / Field Name | Data Type & Unit | Description & Usage in App | Integration Status
1 | Current Weather | WeatherService | lib/services/weather_service.dart | fetchWeather() | https://api.openweathermap.org/data/2.5/weather | GET | lat=-2.1856, lon=115.3889, units=metric, appid=... | main.temp | double [°C] | Temperatur udara ambient saat ini di area pembangkit | Live API
2 | Current Weather | WeatherService | lib/services/weather_service.dart | fetchWeather() | https://api.openweathermap.org/data/2.5/weather | GET | lat, lon, units, appid | main.feels_like | double [°C] | Temperatur yang dirasakan tubuh manusia (heat index) | Live API
3 | Current Weather | WeatherService | lib/services/weather_service.dart | fetchWeather() | https://api.openweathermap.org/data/2.5/weather | GET | lat, lon, units, appid | main.humidity | int [%] | Kelembapan relatif udara sekitar plant | Live API
4 | Current Weather | WeatherService | lib/services/weather_service.dart | fetchWeather() | https://api.openweathermap.org/data/2.5/weather | GET | lat, lon, units, appid | main.pressure | int [hPa] | Tekanan udara atmosfer di permukaan tanah | Live API
5 | Current Weather | WeatherService | lib/services/weather_service.dart | fetchWeather() | https://api.openweathermap.org/data/2.5/weather | GET | lat, lon, units, appid | wind.speed | double [m/s] | Kecepatan angin seketika (krusial untuk dermaga tongkang batubara) | Live API
6 | Current Weather | WeatherService | lib/services/weather_service.dart | fetchWeather() | https://api.openweathermap.org/data/2.5/weather | GET | lat, lon, units, appid | wind.deg | int [Derajat °] | Arah hembusan mata angin | Live API
7 | Current Weather | WeatherService | lib/services/weather_service.dart | fetchWeather() | https://api.openweathermap.org/data/2.5/weather | GET | lat, lon, units, appid | clouds.all | int [%] | Persentase tutupan awan di atas plant (Cloud Cover) | Live API
8 | Current Weather | WeatherService | lib/services/weather_service.dart | fetchWeather() | https://api.openweathermap.org/data/2.5/weather | GET | lat, lon, units, appid | rain.1h | double [mm/jam] | Intensitas curah hujan dalam 1 jam terakhir | Live API
9 | Current Weather | WeatherService | lib/services/weather_service.dart | fetchWeather() | https://api.openweathermap.org/data/2.5/weather | GET | lat, lon, units, appid | weather[0].description | String | Kondisi umum cuaca dalam teks bahasa (contoh: moderate rain, clear sky) | Live API
10 | Current Weather | WeatherService | lib/services/weather_service.dart | fetchWeather() | https://api.openweathermap.org/data/2.5/weather | GET | lat, lon, units, appid | sys.sunrise / sys.sunset | int (Epoch Timestamp) | Waktu matahari terbit dan terbenam lokal (WITA) | Live API
11 | Forecast 5-Day | WeatherService | lib/services/weather_service.dart | fetchForecast() | https://api.openweathermap.org/data/2.5/forecast | GET | lat, lon, units=metric, appid=... | list[].dt_txt | String (Datetime) | Waktu prakiraan interval 3 jam ke depan | Live API
12 | Forecast 5-Day | WeatherService | lib/services/weather_service.dart | fetchForecast() | https://api.openweathermap.org/data/2.5/forecast | GET | lat, lon, units=metric, appid=... | list[].main.temp | double [°C] | Proyeksi temperatur udara untuk perencanaan beban pendingin | Live API
13 | Forecast 5-Day | WeatherService | lib/services/weather_service.dart | fetchForecast() | https://api.openweathermap.org/data/2.5/forecast | GET | lat, lon, units=metric, appid=... | list[].weather[0].icon | String (Icon Code) | Kode ikon visual kondisi cuaca mendatang | Live API
14 | Plant Analytics | WeatherService | lib/services/weather_service.dart | calculateSolarPvPotential() | Algoritma Meteorologi | Client-side Computation | cloudPct, rainMm, hour | solarPvScore | double (0 - 100%) | Indeks efektivitas potensi radiasi penyinaran untuk solar PV | Client-side Computation
15 | Plant Analytics | WeatherService | lib/services/weather_service.dart | calculateSolarPvPotential() | Algoritma Meteorologi | Client-side Computation | cloudPct, rainMm, hour | estimatedIrradiance | double [W/m²] | Estimasi radiasi global horisontal (GHI) dari model matematis sinus | Client-side Computation
16 | Plant Analytics | WeatherService | lib/services/weather_service.dart | evaluatePlantRisks() | Matriks Risiko Operasional | Client-side Computation | windSpeed, rainMm, temp, humidity | coalBargeRisk | PlantRiskLevel | Tingkat risiko keselamatan aktivitas sandar & muat tongkang batubara | Client-side Computation
17 | Plant Analytics | WeatherService | lib/services/weather_service.dart | evaluatePlantRisks() | Matriks Risiko Operasional | Client-side Computation | windSpeed, rainMm, temp, humidity | outdoorWorkRisk | PlantRiskLevel | Risiko keselamatan kerja pemeliharaan outdoor di ketinggian / boiler | Client-side Computation
18 | Plant Analytics | WeatherService | lib/services/weather_service.dart | evaluatePlantRisks() | Matriks Risiko Operasional | Client-side Computation | windSpeed, rainMm, temp, humidity | electricalSwitchyardRisk | PlantRiskLevel | Risiko kelembapan & hujan lebat pada gardu induk / switchyard 150kV | Client-side Computation
19 | Plant Analytics | WeatherService | lib/services/weather_service.dart | evaluatePlantRisks() | Matriks Risiko Operasional | Client-side Computation | windSpeed, rainMm, temp, humidity | highTempDerateRisk | PlantRiskLevel | Risiko penurunan efisiensi peralatan (thermal derating) saat suhu ekstrim | Client-side Computation
20 | UI Navigation | WeatherPage | lib/pages/weather_page.dart | MaterialPageRoute(builder: (_) => WeatherPage()) | Direct Route | Screen Navigation | - | WeatherPage | Widget Class | Navigasi langsung dari SolarEnergyFlowWidget ke halaman evaluasi meteorologi lengkap | Active UI Route

## Google Sheets Logsheet
GOOGLE SHEETS API V4 - SHIFT LOGSHEET & REPORT INTEGRATION
Inventaris Kolom Logsheet Operasi Shift Pembangkit, Sinkronisasi Spreadsheet, dan Mekanisme OAuth2 Google Sign-In
No | Category / Subsystem | Service Class / Script | File Code Path | Function / Listener | Endpoint / Database Path | Method / Protocol | Request Parameters / Body | Data Key / Field Name | Data Type & Unit | Description & Usage in App | Integration Status
1 | Sheet Management | GoogleSheetsService | lib/pages/logsheet/logsheet_service.dart | signIn() | GoogleSignIn (OAuth2) | Google Sign-In Plugin | scopes: email, spreadsheets, drive | authHeaders | Map<String, String> | Bearer access token untuk Google Sheets API v4 | Live API
2 | Sheet Management | GoogleSheetsService | lib/pages/logsheet/logsheet_service.dart | findOrCreateSpreadsheet() | https://sheets.googleapis.com/v4/spreadsheets | POST | {"properties": {"title": "..."}} | spreadsheetId | String | ID unik file spreadsheet Google Drive yang dibuat untuk logsheet plant | Live API
3 | Sheet Management | GoogleSheetsService | lib/pages/logsheet/logsheet_service.dart | readSheetData() | https://sheets.googleapis.com/v4/spreadsheets/{id}/values/{range} | GET | A1 Range (%27encoded%27) | values | List<List<dynamic>> | Seluruh baris dan kolom logsheet pada tanggal shift yang dipilih | Live API
4 | Sheet Management | GoogleSheetsService | lib/pages/logsheet/logsheet_service.dart | appendLogsheetRow() | https://sheets.googleapis.com/v4/spreadsheets/{id}/values/{range}:append | POST | valueInputOption=USER_ENTERED | updatedRows | int | Pencatatan data telemetry per jam oleh operator shift ke spreadsheet | Live API
5 | Logsheet Columns | GoogleSheetsService | lib/pages/logsheet/logsheet_models.dart | Column 0 | Spreadsheet Row / Col A | Data Grid Column | - | TIMESTAMP / HOUR | String (HH:00) | Jam pencatatan logsheet operasional (00:00 - 23:00) | Live Data Table
6 | Logsheet Columns | GoogleSheetsService | lib/pages/logsheet/logsheet_models.dart | Column 1..2 | Spreadsheet Row / Col B..C | Data Grid Column | - | MW_UNIT_1 & MW_UNIT_2 | double [MW] | Beban daya listrik kotor Unit 1 & Unit 2 | Live Data Table
7 | Logsheet Columns | GoogleSheetsService | lib/pages/logsheet/logsheet_models.dart | Column 3..6 | Spreadsheet Row / Col D..G | Data Grid Column | - | STEAM_TEMP & STEAM_PRESS | double [°C & MPa] | Temperatur dan tekanan uap utama boiler Unit 1 & Unit 2 | Live Data Table
8 | Logsheet Columns | GoogleSheetsService | lib/pages/logsheet/logsheet_models.dart | Column 7..10 | Spreadsheet Row / Col H..K | Data Grid Column | - | COAL_FEEDER_FLOW | double [Ton/h] | Laju aliran batubara ke pulverizer / coal mill | Live Data Table
9 | Logsheet Columns | GoogleSheetsService | lib/pages/logsheet/logsheet_models.dart | Column 11..16 | Spreadsheet Row / Col L..Q | Data Grid Column | - | FGD_CEMS_EMISSIONS | double [mg/Nm³] | Parameter emisi cerobong SO2, NOx, Partikulat per jam | Live Data Table
10 | Logsheet Columns | GoogleSheetsService | lib/pages/logsheet/logsheet_models.dart | Column 17..22 | Spreadsheet Row / Col R..W | Data Grid Column | - | SOLAR_PV_GENERATION | double [kW & kWh] | Data daya aktif dan energi kumulatif bangkitan solar PV | Live Data Table
11 | Logsheet Columns | GoogleSheetsService | lib/pages/logsheet/logsheet_models.dart | Column 23..25 | Spreadsheet Row / Col X..Z | Data Grid Column | - | SHIFT_OPERATOR_SIGN | String (Nama & Paraf) | Identitas operator kontrol room (Shift Supervisor & Boardman) | Live Data Table

## Local & Device Services
LOCAL STORAGE, SECURITY, CEMS THRESHOLDS & OKR SERVICES
Inventaris Layanan Internal: Autentikasi Role, Ambang Batas Lingkungan KLHK, Notifikasi Alarm Perangkat, dan Target OKR
No | Category / Subsystem | Service Class / Script | File Code Path | Function / Listener | Endpoint / Database Path | Method / Protocol | Request Parameters / Body | Data Key / Field Name | Data Type & Unit | Description & Usage in App | Integration Status
1 | Security & Auth | AuthService | lib/services/auth_service.dart | saveSession() / getSavedRole() | SharedPreferences | Local Key-Value | - | session_role | String (Enum) | Role pengguna yang tersimpan: general, operation, maintenance, okr_editor, admin | Local / Device Native
2 | Security & Auth | AuthService | lib/services/auth_service.dart | hasValidSession() | SharedPreferences | Local Key-Value | - | session_timestamp | int (Epoch ms) | Waktu login untuk menghitung kedaluwarsa sesi (masa aktif 15 hari) | Local / Device Native
3 | Security & Auth | AuthService | lib/services/auth_service.dart | setPassword() / verifyPasswordScope() | SharedPreferences | Local Key-Value | scope, password | password_{scope} | String (Hashed/Plain) | Password akses proteksi per modul (admin, operation, maintenance, okr_editor) | Local / Device Native
4 | Environmental Compliance | CemsThresholdService | lib/services/cems_threshold_service.dart | getThreshold('SO2') | PermenLHK P.15/2019 | Static Configuration | param='SO2' | max: 550.0 | double [mg/Nm³] | Baku mutu batas maksimum emisi Sulfur Dioksida PerMenLHK No. P.15/2019 | Local Configuration
5 | Environmental Compliance | CemsThresholdService | lib/services/cems_threshold_service.dart | getThreshold('NOX') | PermenLHK P.15/2019 | Static Configuration | param='NOX' | max: 550.0 | double [mg/Nm³] | Baku mutu batas maksimum emisi Nitrogen Oksida PerMenLHK No. P.15/2019 | Local Configuration
6 | Environmental Compliance | CemsThresholdService | lib/services/cems_threshold_service.dart | getThreshold('PARTICULATE') | PermenLHK P.15/2019 | Static Configuration | param='PARTICULATE' | max: 50.0 | double [mg/Nm³] | Baku mutu batas maksimum emisi debu partikulat PerMenLHK No. P.15/2019 | Local Configuration
7 | Environmental Compliance | CemsThresholdService | lib/services/cems_threshold_service.dart | getThreshold('HG') | PermenLHK P.15/2019 | Static Configuration | param='HG' | max: 0.03 | double [mg/Nm³] | Baku mutu batas maksimum emisi Merkuri (Hg) PerMenLHK No. P.15/2019 | Local Configuration
8 | Environmental Compliance | CemsThresholdService | lib/services/cems_threshold_service.dart | isDataCompliant() | Threshold Engine | Evaluation Function | cemsData, fallbackData | isCompliant | Boolean | Evaluasi otomatis apakah seluruh pembacaan CEMS berada di bawah ambang batas baku mutu | Local Evaluation Engine
9 | System Notifications | NotificationService | lib/services/notification_service.dart | init() | flutter_local_notifications | Android / iOS Native | - | Timezone: Asia/Makassar | String | Inisialisasi zona waktu WITA (Waktu Indonesia Tengah) untuk penjadwalan alarm | Device Native
10 | System Notifications | NotificationService | lib/services/notification_service.dart | showExceedNotification() | flutter_local_notifications | System Notification | unitName, param, value, limit | channel: cems_alert | Notification Popup | Peringatan darurat instan di status bar saat emisi CEMS melebihi baku mutu KLHK | Device Native
11 | Corporate OKRs | OkrService | lib/services/okr_service.dart | currentObjectives | Local In-Memory / SharedPreferences | State Management | - | Objective[].title | String | Sasaran strategis perusahaan & plant tahunan (contoh: Kesiapan Operasi & Keandalan) | Local / Seed State
12 | Corporate OKRs | OkrService | lib/services/okr_service.dart | currentObjectives | Local In-Memory / SharedPreferences | State Management | - | KeyResult[].target | double | Nilai target kuantitatif (contoh: EAF 92%, NPHR 2450 kCal/kWh, Zero Accident) | Local / Seed State
13 | Corporate OKRs | OkrService | lib/services/okr_service.dart | saveObjective() / saveKeyResult() | Local In-Memory / SharedPreferences | State Management | Objective / KeyResult | changelog | List<String> | Riwayat perubahan (audit trail) pembaruan data pencapaian OKR | Local / Seed State